Comparison of phosphorous analytical values using ICP-OES and molybdovanadophosphate colorimetric assay

Jinbong Hwang*, Bae Namgung, Mira Oh, Kijin Kim

Korea Food Research Institute, Department of Food analysis, 463-746, Republic of Korea

Introduction and Results

Comparison of phosphorous analytical values using ICP-OES and molybdovanadophosphate colorimetric assay (Official method in Korea Food Code) were performed to establish precision analytical method for standardization of National Food Nutritional data base. The certified reference materials (CRM) used as test samples, SRM-1849a, SRM-1546, LGC-7105 and LGC-7104, were purchased from NIST. The microwave pre-treatment method was concurrently used for ICP-OES detection and colorimetric assay. The recovery values were ranged 105.2 – 109.7 % for ICP-OES detection and 91.5 – 111.6 % for colorimetric assay, respectively. Thus, those of phosphorous analytical values produced by two different methods were exhibited no significant difference in a paired-samples t-test. It seems that the ICP-OES detection coupled with microwave digestion method, suggested in this study, can be appropriate analytical method to accurately determinate phosphorous in food.

Keywords: ICP-OES; Phosphorous; Molybdovanadophosphate.

Reference: (1) Darryl M. Sullivan; Donald E. Carpenter : Method of analysis for Nutrition Labeling, AOAC int., 1993, 331-365.

(2) Korea Food Code Ⅱ ; 2013, 55-59.

This abstract is being submitted for Poster presentation

Introduction to the authors:

NAME: Jin-Bong Hwang

DATE of BIRTH: March 06, 1955

PRESENT POSITION/INSTITUTION: Researcher/ Food Analysis Center

Korea Food Research Institute, Republic of Korea

EXPERIENCES/INSTITUTION: Researcher of Korea Food Industry Association

Researcher of Korea Food Research Institute

ADDRESS: 516, Baekhyun, Bungdang, Seongnam, Gyonggi Republic of Korea

TEL: +82 31 780 9128  FAX: +82 31 780 9280

MOBILE : +82 10 3726 1246

email: hwangjb@kfri.re.kr

: